## Option_Summary
Option Fact File
Description | SWS_KME_HI-DES_ALL_ALL_ios20_p2
Supply and Transfer Options
Name | Desalination (KME): Isle of Sheppey phase 2
Source of Supply and main operational features | This option proposes increasing the output from the Isle of Sheppey desalination plant (from either 10 or 20Ml/d) by 20Ml/d in a second phase. Locating a desalination plant on the Isle of Sheppey has a clear advantage: it would meet local demand while significantly reducing the need for transfers. This option could be enhanced to transfer treated water from the Isle of Sheppey to the wider Kent-Medway WRZs. A number of sites for a desalination plant were investigated and the most suitable would be located on land south of Sheerness Docks currently used for storage of car imports. Water treated at this site would then be pumped to service reservoirs on the island for distribution to customers. This site will be investigated further in the feasibility appraisal.
Area over which option is to be implemented | Kent Medway East
Dependencies | After one of: SWS_KME_HI-DES_ALL_CNO_ios20, SWS_KME_HI-DES_ALL_CNO_ios10
Key Facts
Metric
Deployable Output (DO)
A profile of the deployable output, contribution to the supply demand balance or demand saving (based on the capacity of the option) or water saved over 80 years. The benefit of a demand side option should be based on a dry year
DO 1:200 Average [Ml/d] | 10
DO 1:200 Peak [Ml/d] | 10
DO 1:500 Average [Ml/d] | 10
DO 1:500 Peak [Ml/d] | 10
Lead in time
An estimate of the lead-in time needed to investigate and implement the option
Investigation time [Years] | 3
Earliest start date | 01/04/2039
Risk and uncertainty with option
An assessment of the risks and uncertainty associated with the option
General - Ml/d risk [Best Value Metric] | 4
General - text
Impact of Climate Change on yield
Environment (inc INNS)
Customer behaviour
Drinking Water Safety
A drinking water safety plan assessing the risks to drinking water quality
SWS 'catchment raw water quality risks' [Best Value Metric] | 0
Links and constraints
Does the option depend on an existing scheme or proposed option | Inclusive with SWS_KME_HI-DES_ALL_ALL_ios20_p2.
Constraints specific to the option
Customer support
Customer Preference [Best Value Metric] | 1.01
Flexibility
Scalability and modularity [Best Value Metric] | 3
A description of how the option will be utilised and the impact on operating costs and carbon costs
Expected annual utilisation [Ml/d] | 18.9455
Maximum annual utilisation [Ml/d]
Environment
SEA benefit effect
SEA negative effect
WFD Assessment [Y/N] | Y
Risk of non compliance against WFD Objectives? | Compliant (low conf.)
HRA assessment [Y/N] | Y
Appropriate Assessment Required [Y/N] | Y
Contribution to biodiversity
Financial and Cost Information
Metric
Capex [£m] | 724.8477
Financing Cost [£m] | 944.8878
Opex [£m] | 413.575
Embodied Carbon [tCo2e] | 62697.1063
Average operational carbon emissions [tCo2e/yr] | 1315.4053
Total Carbon Cost [£m] | 86.4362
Average Incremental Cost (AIC) [p/m3] | 250.06
Other
Metric

## Best_Value_Metrics
Best Value Metrics
Metric
Environmental: Environmental Benefit
Environmental: Environmental Disbenefit
Environmental: Natural Capital
Environmental: Biodiversity Net Gain
Social: Customer Preference | 1.01
Resilience: Reliability R1 – Uncertainty of option supply/demand benefit | 4
Resilience: Reliability R3 – Risk of failure of planned service due to other physical hazards | 2
Resilience: Reliability R5 – Catchment/raw water quality risks (incl. climate change) | 0
Resilience: Reliability R6 – Capacity of catchment services
Resilience: Reliability R7 – Risk of failure of planned service due to exceptional shocks | 1
Resilience: Reliability R8 – Improvements to soil health
Resilience: Adaptability A3 – Operational complexity and flexibility | 1
Resilience: Adaptability A7 – Customer engagement with demand restrictions
Resilience: Evolvability E1 – Scalability and modularity of proposed changes | 3
Resilience: Evolvability E2 – Intervention lead times | 4
Resilience: Evolvability E3 – Reliance on external bodies to deliver changes | 2
Resilience: Evolvability E5 – Collaborative landscape management
Best Value Metric Plot

## WAFU
Water Avaliable for Use
Time Series Plot