## Option_Summary
Option Fact File
Description | SWS_SBZ_HI-DES_ALL_ALL_shom20
Supply and Transfer Options
Name | Desalination (SBZ): Sussex Coast
Source of Supply and main operational features | A coastal desalination plant on the Sussex Coast that could supply the Central Area WRZs. The treated water would be supplied to the Sussex WRZ distribution network. This is phase 2 providing an additional 10Ml/d in capacity.
Area over which option is to be implemented | Sussex Brighton
Dependencies | After: SWS_SBZ_HI-DES_ALL_CNO_shom10
Key Facts
Metric
Deployable Output (DO)
A profile of the deployable output, contribution to the supply demand balance or demand saving (based on the capacity of the option) or water saved over 80 years. The benefit of a demand side option should be based on a dry year
DO 1:200 Average [Ml/d] | 10
DO 1:200 Peak [Ml/d] | 10
DO 1:500 Average [Ml/d] | 10
DO 1:500 Peak [Ml/d] | 10
Lead in time
An estimate of the lead-in time needed to investigate and implement the option
Investigation time [Years] | 2
Earliest start date
Risk and uncertainty with option
An assessment of the risks and uncertainty associated with the option
General - Ml/d risk [Best Value Metric] | 4
General - text
Impact of Climate Change on yield
Environment (inc INNS)
Customer behaviour
Drinking Water Safety
A drinking water safety plan assessing the risks to drinking water quality
SWS 'catchment raw water quality risks' [Best Value Metric] | 0
Links and constraints
Does the option depend on an existing scheme or proposed option | Inclusive with SWS_SBZ_HI-DES_ALL_ALL_shom20.
Constraints specific to the option
Customer support
Customer Preference [Best Value Metric] | 1.01
Flexibility
Scalability and modularity [Best Value Metric] | 3
A description of how the option will be utilised and the impact on operating costs and carbon costs
Expected annual utilisation [Ml/d] | 10
Maximum annual utilisation [Ml/d] | 10
Environment
SEA benefit effect | 2
SEA negative effect | -25
WFD Assessment [Y/N] | Y
Risk of non compliance against WFD Objectives? | Potentially non-compliant (low conf.)
HRA assessment [Y/N] | Y
Appropriate Assessment Required [Y/N] | N
Contribution to biodiversity | -15.8863
Financial and Cost Information
Metric
Capex [£m] | 363.7667
Financing Cost [£m] | 469.7426
Opex [£m] | 219.753
Embodied Carbon [tCo2e] | 7786.1351
Average operational carbon emissions [tCo2e/yr] | 691.9013
Total Carbon Cost [£m] | 25.635
Average Incremental Cost (AIC) [p/m3] | 247.55
Other
Metric

## Best_Value_Metrics
Best Value Metrics
Metric
Environmental: Environmental Benefit | 2
Environmental: Environmental Disbenefit | -25
Environmental: Natural Capital | -133.1897
Environmental: Biodiversity Net Gain | -15.8863
Social: Customer Preference | 1.01
Resilience: Reliability R1 – Uncertainty of option supply/demand benefit | 4
Resilience: Reliability R3 – Risk of failure of planned service due to other physical hazards | 3
Resilience: Reliability R5 – Catchment/raw water quality risks (incl. climate change) | 0
Resilience: Reliability R6 – Capacity of catchment services
Resilience: Reliability R7 – Risk of failure of planned service due to exceptional shocks | 1
Resilience: Reliability R8 – Improvements to soil health
Resilience: Adaptability A3 – Operational complexity and flexibility | 1
Resilience: Adaptability A7 – Customer engagement with demand restrictions
Resilience: Evolvability E1 – Scalability and modularity of proposed changes | 3
Resilience: Evolvability E2 – Intervention lead times | 4
Resilience: Evolvability E3 – Reliance on external bodies to deliver changes | 2
Resilience: Evolvability E5 – Collaborative landscape management
Best Value Metric Plot

## WAFU
Water Avaliable for Use
Time Series Plot