## Option_Summary
Option Fact File
Description | SWS_[RZ]_T100_Policy_Regulation
Supply and Transfer Options
Name | Implementation of changes to regulation and policy on building standards and appliances (All resource zones)
Source of Supply and main operational features | This is a programme of changes to regulation and policy with regard to new building standards and appliances to reduce water consumption. Contains three sub options: New building standards to 100l/p/d (from 2030) New building standrds to 85l/p/day (from 2035) New water efficiency labelling on products (from 2030) Details of each sub option are included in this fact file.
Area over which option is to be implemented | Company wide
Dependencies | Government change in policy and regulation
Key Facts
Metric
Deployable Output (DO)
A profile of the deployable output, contribution to the supply demand balance or demand saving (based on the capacity of the option) or water saved over 80 years. The benefit of a demand side option should be based on a dry year
DO 1:200 Average (Ml/d) | 6.5
DO 1:200 Peak (Ml/d) | 6.5
DO 1:500 Average (Ml/d) | 6.5
DO 1:500 Peak (Ml/d) | 6.5
3
An estimate of the lead-in time needed to investigate and implement the option
Investigation time | 5
Earliest start date | 2030/31
Risk and uncertainty with option
An assessment of the risks and uncertainty associated with the option
General - Ml/d risk (Best Value Metric) | -
General - text | General delivery risk valued at 4 to 5 (medium-high to high). Technically feasible but value of benefits are uncertain.
Impact of Climate Change on yield | -
Environment (inc INNS) | -
Customer behaviour | Risk that customers may change out low use water products. Benefits could be more securely delivered through building in non-potable supplies in the building designs
Drinking Water Safety
A drinking water safety plan assessing the risks to drinking water quality
SWS 'catchment raw water quality risks' (Best Value Metric) | N/A
Links and constraints
Does the option depend on an existing scheme or proposed option | -
Constraints specific to the option | requires setting of Government Policy and Standards
Customer support
Customer Preference (Best Value Metric) | Customers support water efficiency
Flexibility
Scalability and modularity (Best Value Metric) | high
A description of how the option will be utilised and the impact on operating costs and carbon costs | This option affects water use from the growth brought by new housing development and water use by household products. The forecast savings are intrisically difficult to estimate however, the option would reduce growth in water use then would otherwise occur. The exact benefit in any year is uncertain but the trend over 5 years could be measured to see the performance of the changes.
Expected annual utilisation [Ml/d] | 6.5Ml/d
Maximum annual utilisation [Ml/d] | 6.5Ml/d
Environment
SEA benefit effect | -
SEA negative effect | -
WFD Assessment [Y/N] | N
WFD comment | N
HRA assessment [Y/N] | N
HRA comment | N
Contribution to biodiversity | indirectly
Financial and Cost Information
Metric
Capex [£m] | -
Financing Cost [£m] | -
Opex [£m] | -
Embodied Carbon [tCo2e] | -
Average operational carbon emissions [tCo2e/yr] | -89.7
Total Carbon Cost [£m] | -137
Average Incremental Cost (AIC) [p/m3] | -
Other
Metric
Supporting informaion gives breakdown of the programme and RZ split The financial and cost information is the 15 year totals/averages to 2040 to align to the assessment of the T100 plan. Post 2040 costs and benefits are included in the WRMP tables. As this cost is policy and regualtion is has no direct cost to the company.

## Schematic
Schematic
Sub Options within this option

## Best_Value_Metrics
Best Value Metrics
Metric
Environmental: Environmental Benefit
Environmental: Environmental Disbenefit
Environmental: Natural Capital
Environmental: Biodiversity Net Gain
Social: Customer Preference
Resilience: Reliability R1 – Uncertainty of option supply/demand benefit
Resilience: Reliability R3 – Risk of failure of planned service due to other physical hazards
Resilience: Reliability R5 – Catchment/raw water quality risks (incl. climate change)
Resilience: Reliability R6 – Capacity of catchment services
Resilience: Reliability R7 – Risk of failure of planned service due to exceptional shocks
Resilience: Reliability R8 – Improvements to soil health
Resilience: Adaptability A3 – Operational complexity and flexibility
Resilience: Adaptability A7 – Customer engagement with demand restrictions
Resilience: Evolvability E1 – Scalability and modularity of proposed changes
Resilience: Evolvability E2 – Intervention lead times
Resilience: Evolvability E3 – Reliance on external bodies to deliver changes
Resilience: Evolvability E5 – Collaborative landscape management
Best Value Metric Plot

## WAFU
Water Avaliable for Use
Time Series Data (Company Level)
Time Series Data (RZ Level) (Table 5)
WRMP24 Reference | Option name | Option ID | Option Type (defined list) | Option Group | Sub-option (Y/N) | Preferred (most likely), Least Cost, Ofwat Core or Alternative Programme | WRZ (defined list) | Unit | Decimal places | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | 2034-35 | 2035-36 | 2036-37 | 2037-38 | 2038-39 | 2039-40 | 2040-41 | 2041-42 | 2042-43 | 2043-44 | 2044-45 | 2045-46 | 2046-47 | 2047-48 | 2048-49 | 2049-50 | 2050-51 | 2051-52 | 2052-53 | 2053-54 | 2054-55 | 2055-56 | 2056-57 | 2057-58 | 2058-59 | 2059-60 | 2060-61 | 2061-62 | 2062-63 | 2063-64 | 2064-65 | 2065-66 | 2066-67 | 2067-68 | 2068-69 | 2069-70 | 2070-71 | 2071-72 | 2072-73 | 2073-74 | 2074-75 | 2075-76 | 2076-77 | 2077-78 | 2078-79 | 2079-80 | 2080-81 | 2081-82 | 2082-83 | 2083-84 | 2084-85 | 2085-86 | 2086-87 | 2087-88 | 2088-89 | 2089-90 | 2090-91 | 2091-92 | 2092-93 | 2093-94 | 2094-95 | 2095-96 | 2096-97 | 2097-98 | 2098-99 | 2099-100
52dP | Policy and Regulation (HA) | SWS_HA_T100_Policy_Regulation | Other water efficiency | Customer Options |  | Preferred | SWSHAD | Ml/d | 2 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0.0092832 | 0.02426 | 0.037842 | 0.050863 | 0.063327 | 0.093773 | 0.12298 | 0.15094 | 0.1782 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503 | 0.20503
52dP | Policy and Regulation (HK) | SWS_HK_T100_Policy_Regulation | Other water efficiency | Customer Options |  | Preferred | SWSHKC | Ml/d | 2 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0.0020021 | 0.0052423 | 0.0081994 | 0.011087 | 0.013884 | 0.02075 | 0.027436 | 0.03396 | 0.040426 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793 | 0.046793
52dP | Policy and Regulation (HW) | SWS_HW_T100_Policy_Regulation | Other water efficiency | Customer Options |  | Preferred | SWSHWN | Ml/d | 2 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0.0066719 | 0.017731 | 0.028781 | 0.040051 | 0.051452 | 0.078308 | 0.10543 | 0.13261 | 0.15997 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717 | 0.18717
52dP | Policy and Regulation (HR) | SWS_HR_T100_Policy_Regulation | Other water efficiency | Customer Options |  | Preferred | SWSHRU | Ml/d | 2 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0.0036353 | 0.0095889 | 0.015093 | 0.020415 | 0.025561 | 0.038109 | 0.050191 | 0.061832 | 0.073198 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373 | 0.084373
52dP | Policy and Regulation (HSE) | SWS_HSE_T100_Policy_Regulation | Other water efficiency | Customer Options |  | Preferred | SWSHSE | Ml/d | 2 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0.036659 | 0.10161 | 0.16548 | 0.2298 | 0.29378 | 0.44563 | 0.59611 | 0.74568 | 0.89512 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045 | 1.045
52dP | Policy and Regulation (HSW) | SWS_HSW_T100_Policy_Regulation | Other water efficiency | Customer Options |  | Preferred | SWSHSW | Ml/d | 2 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0.01391 | 0.035717 | 0.057123 | 0.079627 | 0.10213 | 0.15721 | 0.21393 | 0.26966 | 0.32543 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137 | 0.38137
52dP | Policy and Regulation (IOW) | SWS_IOW_T100_Policy_Regulation | Other water efficiency | Customer Options |  | Preferred | SWSIOW | Ml/d | 2 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0.01361 | 0.037094 | 0.05955 | 0.081893 | 0.10404 | 0.15666 | 0.20908 | 0.26052 | 0.31173 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301 | 0.36301
52dP | Policy and Regulation (SN) | SWS_SN_T100_Policy_Regulation | Other water efficiency | Customer Options |  | Preferred | SWSSNT | Ml/d | 2 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0.050144 | 0.12475 | 0.18801 | 0.2462 | 0.30043 | 0.43788 | 0.56743 | 0.68929 | 0.80624 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028 | 0.92028
52dP | Policy and Regulation (SW) | SWS_SW_T100_Policy_Regulation | Other water efficiency | Customer Options |  | Preferred | SWSSWR | Ml/d | 2 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0.020877 | 0.055224 | 0.087668 | 0.11952 | 0.15055 | 0.22561 | 0.29867 | 0.36957 | 0.43959 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878 | 0.50878
52dP | Policy and Regulation (SB) | SWS_SB_T100_Policy_Regulation | Other water efficiency | Customer Options |  | Preferred | SWSSBR | Ml/d | 2 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0.032594 | 0.088068 | 0.14217 | 0.19682 | 0.25134 | 0.3814 | 0.51189 | 0.64225 | 0.77375 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681 | 0.90681
52dP | Policy and Regulation (KME) | SWS_KME_T100_Policy_Regulation | Other water efficiency | Customer Options |  | Preferred | SWSKME | Ml/d | 2 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0.027051 | 0.074736 | 0.12336 | 0.17184 | 0.21547 | 0.32367 | 0.43094 | 0.53678 | 0.64232 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889 | 0.74889
52dP | Policy and Regulation (KMW) | SWS_KMW_T100_Policy_Regulation | Other water efficiency | Customer Options |  | Preferred | SWSKMW | Ml/d | 2 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0.002791 | 0.012392 | 0.024994 | 0.044699 | 0.081363 | 0.12409 | 0.17149 | 0.22216 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635 | 0.27635
52dP | Policy and Regulation (KTH) | SWS_KTH_T100_Policy_Regulation | Other water efficiency | Customer Options |  | Preferred | SWSKTH | Ml/d | 2 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0.017668 | 0.050046 | 0.08287 | 0.11641 | 0.14987 | 0.22831 | 0.30715 | 0.38519 | 0.46299 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108 | 0.54108
52dP | Policy and Regulation (SH) | SWS_SH_T100_Policy_Regulation | Other water efficiency | Customer Options |  | Preferred | SWSSHT | Ml/d | 2 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0.013813 | 0.036553 | 0.057594 | 0.078212 | 0.09813 | 0.14668 | 0.19398 | 0.24029 | 0.28599 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128 | 0.33128