## Option_Summary
Option Fact File
Description | SWS_IOW_HI-ROC_ALL_ALL_env_lv_yar_westi
Supply and Transfer Options
Name | Eastern Yar Augmentation Scheme drought option
Source of Supply and main operational features | Reduction to the Minimum Residual Flow conditions: River Medina 1) reduce from 2.7Ml/d to 1.7Ml/d River Medina 2) reduce from 5Ml/d to 4Ml/d. This will allow increased abstraction for transfer and augmentation of flows in the Eastern Yar.
Area over which option is to be implemented | Isle of Wight
Dependencies
Key Facts
Metric
Deployable Output (DO)
A profile of the deployable output, contribution to the supply demand balance or demand saving (based on the capacity of the option) or water saved over 80 years. The benefit of a demand side option should be based on a dry year
DO 1:200 Average [Ml/d] | 1
DO 1:200 Peak [Ml/d] | 1
DO 1:500 Average [Ml/d] | 1
DO 1:500 Peak [Ml/d] | 1
Lead in time
An estimate of the lead-in time needed to investigate and implement the option
Investigation time [Years] | 1
Earliest start date
Risk and uncertainty with option
An assessment of the risks and uncertainty associated with the option
General - Ml/d risk [Best Value Metric] | 0
General - text
Impact of Climate Change on yield
Environment (inc INNS)
Customer behaviour
Drinking Water Safety
A drinking water safety plan assessing the risks to drinking water quality
SWS 'catchment raw water quality risks' [Best Value Metric] | 0
Links and constraints
Does the option depend on an existing scheme or proposed option | Inclusive with SWS_IOW_HI-ROC_ALL_ALL_env_lv_yar_westi.
Constraints specific to the option
Customer support
Customer Preference [Best Value Metric] | 1.46
Flexibility
Scalability and modularity [Best Value Metric] | 0
A description of how the option will be utilised and the impact on operating costs and carbon costs
Expected annual utilisation [Ml/d] | 0.0021572
Maximum annual utilisation [Ml/d] | 0.10355
Environment
SEA benefit effect | 1
SEA negative effect | -12
WFD Assessment [Y/N] | Y
Risk of non compliance against WFD Objectives? | Risk of Deterioration (draft Drought Plan)
HRA assessment [Y/N] | Y
Appropriate Assessment Required [Y/N] | Y (draft Drought Plan)
Contribution to biodiversity
Financial and Cost Information
Metric
Capex [£m] | 0
Financing Cost [£m] | 0
Opex [£m] | 120.7683
Embodied Carbon [tCo2e]
Average operational carbon emissions [tCo2e/yr] | 0.0050817
Total Carbon Cost [£m] | 0.08272
Average Incremental Cost (AIC) [p/m3] | 422.9
Other
Metric

## Best_Value_Metrics
Best Value Metrics
Metric
Environmental: Environmental Benefit | 1
Environmental: Environmental Disbenefit | -12
Environmental: Natural Capital
Environmental: Biodiversity Net Gain
Social: Customer Preference | 1.46
Resilience: Reliability R1 – Uncertainty of option supply/demand benefit | 0
Resilience: Reliability R3 – Risk of failure of planned service due to other physical hazards | 0
Resilience: Reliability R5 – Catchment/raw water quality risks (incl. climate change) | 0
Resilience: Reliability R6 – Capacity of catchment services
Resilience: Reliability R7 – Risk of failure of planned service due to exceptional shocks | 0
Resilience: Reliability R8 – Improvements to soil health
Resilience: Adaptability A3 – Operational complexity and flexibility | 0
Resilience: Adaptability A7 – Customer engagement with demand restrictions
Resilience: Evolvability E1 – Scalability and modularity of proposed changes | 0
Resilience: Evolvability E2 – Intervention lead times | 5
Resilience: Evolvability E3 – Reliance on external bodies to deliver changes | 0
Resilience: Evolvability E5 – Collaborative landscape management
Best Value Metric Plot

## WAFU
Water Avaliable for Use
Time Series Plot