## Option_Summary
Option Fact File
Description | SWS_SWZ_RE-DRO_ALL_ALL_si_mad_2
Supply and Transfer Options
Name | Drought option - supply (SWZ): North Arundel (1.2Ml/d)
Source of Supply and main operational features | Drought option: Under more severe droughts where the supply-demand situation in Sussex Coast and/or Sussex North is threatened then a drought permit may be sought to increase licensed abstraction at North Arundel. The proposed drought option involves increasing groundwater abstraction at North Arundel WSW through the application for and implementation of a Drought Permit. This source typically pumps at 4.5Ml/d and is constrained by the licence. The drought action would seek to increase the daily abstraction rate by 2.5Ml/d to 7Ml/d which is the peak deployable output of the source. Increasing the abstraction from North Arundel will provide additional supply for Sussex Coast and possibly support bulk transfers to Sussex North. However this is only a severe drought option due to the sensitivity of Swanbourne Lake.
Area over which option is to be implemented | Sussex Worthing
Dependencies
Key Facts
Metric
Deployable Output (DO)
A profile of the deployable output, contribution to the supply demand balance or demand saving (based on the capacity of the option) or water saved over 80 years. The benefit of a demand side option should be based on a dry year
DO 1:200 Average [Ml/d] | 0
DO 1:200 Peak [Ml/d] | 0
DO 1:500 Average [Ml/d] | 2.5
DO 1:500 Peak [Ml/d] | 2.5
Lead in time
An estimate of the lead-in time needed to investigate and implement the option
Investigation time [Years] | 0
Earliest start date
Risk and uncertainty with option
An assessment of the risks and uncertainty associated with the option
General - Ml/d risk [Best Value Metric] | 1
General - text
Impact of Climate Change on yield
Environment (inc INNS)
Customer behaviour
Drinking Water Safety
A drinking water safety plan assessing the risks to drinking water quality
SWS 'catchment raw water quality risks' [Best Value Metric] | 2
Links and constraints
Does the option depend on an existing scheme or proposed option | Inclusive with SWS_SWZ_RE-DRO_ALL_ALL_si_mad_2.
Constraints specific to the option | Exclusive with SWS_SI_Mad_2
Customer support
Customer Preference [Best Value Metric] | 1
Flexibility
Scalability and modularity [Best Value Metric] | 2
A description of how the option will be utilised and the impact on operating costs and carbon costs
Expected annual utilisation [Ml/d] | 0.8
Maximum annual utilisation [Ml/d] | 2.5
Environment
SEA benefit effect | 1
SEA negative effect | -7
WFD Assessment [Y/N] | Y
Risk of non compliance against WFD Objectives? | Risk of Deterioration (draft Drought Plan)
HRA assessment [Y/N] | Y
Appropriate Assessment Required [Y/N] | N (Screened in draft Drought Plan)
Contribution to biodiversity
Financial and Cost Information
Metric
Capex [£m] | 0.75
Financing Cost [£m] | 1.741
Opex [£m] | 1.1742
Embodied Carbon [tCo2e]
Average operational carbon emissions [tCo2e/yr] | 2.5953
Total Carbon Cost [£m] | 0.038448
Average Incremental Cost (AIC) [p/m3] | 13.36
Other
Metric

## Best_Value_Metrics
Best Value Metrics
Metric
Environmental: Environmental Benefit | 1
Environmental: Environmental Disbenefit | -7
Environmental: Natural Capital
Environmental: Biodiversity Net Gain
Social: Customer Preference | 1
Resilience: Reliability R1 – Uncertainty of option supply/demand benefit | 1
Resilience: Reliability R3 – Risk of failure of planned service due to other physical hazards | 3
Resilience: Reliability R5 – Catchment/raw water quality risks (incl. climate change) | 2
Resilience: Reliability R6 – Capacity of catchment services
Resilience: Reliability R7 – Risk of failure of planned service due to exceptional shocks | 3
Resilience: Reliability R8 – Improvements to soil health
Resilience: Adaptability A3 – Operational complexity and flexibility | 2
Resilience: Adaptability A7 – Customer engagement with demand restrictions
Resilience: Evolvability E1 – Scalability and modularity of proposed changes | 2
Resilience: Evolvability E2 – Intervention lead times | 5
Resilience: Evolvability E3 – Reliance on external bodies to deliver changes | 2
Resilience: Evolvability E5 – Collaborative landscape management
Best Value Metric Plot

## WAFU
Water Avaliable for Use
Time Series Plot