## Option_Summary
Option Fact File
Description | SWS_HSE_HI-REU_RE1_CNO_wol8
Supply and Transfer Options
Name | Recycling (HSE): Woolston WTW (7.1Ml/d)
Source of Supply and main operational features | This option is for additional treatment to the effluent at Woolston WwTW.It is proposed that the DWF would be pumped to discharge location just upstream of the tidal limit at Woodmill in order to support flows abstracted at Gaters Mill. Due to space constraints at Woolston WwTW, additional treatment plant would need to be sited en route to the proposed Otterbourne, potentially at Gaters Mill.
Area over which option is to be implemented | Hampshire Southampton East
Dependencies
Key Facts
Metric
Deployable Output (DO)
A profile of the deployable output, contribution to the supply demand balance or demand saving (based on the capacity of the option) or water saved over 80 years. The benefit of a demand side option should be based on a dry year
DO 1:200 Average [Ml/d] | 7.1
DO 1:200 Peak [Ml/d] | 7.1
DO 1:500 Average [Ml/d] | 7.1
DO 1:500 Peak [Ml/d] | 7.1
Lead in time
An estimate of the lead-in time needed to investigate and implement the option
Investigation time [Years] | 6
Earliest start date
Risk and uncertainty with option
An assessment of the risks and uncertainty associated with the option
General - Ml/d risk [Best Value Metric] | 4
General - text
Impact of Climate Change on yield
Environment (inc INNS)
Customer behaviour
Drinking Water Safety
A drinking water safety plan assessing the risks to drinking water quality
SWS 'catchment raw water quality risks' [Best Value Metric] | 2
Links and constraints
Does the option depend on an existing scheme or proposed option | Inclusive with SWS_HSE_HI-REU_RE1_CNO_wol8 SWS_HSE_HI-REU_RE1_DEV_wol8 SWS_HSE_HI-REU_RE1_PLA_wol8.
Constraints specific to the option | Exclusive with SWS_woolston
Customer support
Customer Preference [Best Value Metric] | 1.15
Flexibility
Scalability and modularity [Best Value Metric] | 3
A description of how the option will be utilised and the impact on operating costs and carbon costs
Expected annual utilisation [Ml/d] | 4.26
Maximum annual utilisation [Ml/d]
Environment
SEA benefit effect | 4
SEA negative effect | -39
WFD Assessment [Y/N] | Y
Risk of non compliance against WFD Objectives? | Potentially non-compliant (low conf.)
HRA assessment [Y/N] | Y
Appropriate Assessment Required [Y/N] | Y
Contribution to biodiversity | -140.5402
Financial and Cost Information
Metric
Capex [£m] | 359.1904
Financing Cost [£m] | 473.2879
Opex [£m] | 165.9006
Embodied Carbon [tCo2e] | 38565.7732
Average operational carbon emissions [tCo2e/yr] | 153.0852
Total Carbon Cost [£m] | 19.9477
Average Incremental Cost (AIC) [p/m3] | 346.36
Other
Metric

## Best_Value_Metrics
Best Value Metrics
Metric
Environmental: Environmental Benefit | 4
Environmental: Environmental Disbenefit | -39
Environmental: Natural Capital | -316.1265
Environmental: Biodiversity Net Gain | -140.5402
Social: Customer Preference | 1.15
Resilience: Reliability R1 – Uncertainty of option supply/demand benefit | 4
Resilience: Reliability R3 – Risk of failure of planned service due to other physical hazards | 2
Resilience: Reliability R5 – Catchment/raw water quality risks (incl. climate change) | 2
Resilience: Reliability R6 – Capacity of catchment services
Resilience: Reliability R7 – Risk of failure of planned service due to exceptional shocks | 1
Resilience: Reliability R8 – Improvements to soil health
Resilience: Adaptability A3 – Operational complexity and flexibility | 1
Resilience: Adaptability A7 – Customer engagement with demand restrictions
Resilience: Evolvability E1 – Scalability and modularity of proposed changes | 3
Resilience: Evolvability E2 – Intervention lead times | 2
Resilience: Evolvability E3 – Reliance on external bodies to deliver changes | 1
Resilience: Evolvability E5 – Collaborative landscape management
Best Value Metric Plot

## WAFU
Water Avaliable for Use
Time Series Plot