## Option_Summary
Option Fact File
Description | SWS_SHZ_HI-REU_RE1_CNO_env_cu_bew1_conju
Supply and Transfer Options
Name | Recycling (SHZ): Tunbridge Wells WTW (3.6Ml/d)
Source of Supply and main operational features | New resource.This option is a new 5Mld water recycling plant producing a DO of 3.6Mld near Tunbridge Wells WwTW and a transfer of the treated effluent to Bewl reservoir which feeds Darwell reservoir and associated supply works. Process losses have been included.
Area over which option is to be implemented | Sussex Hastings
Dependencies
Key Facts
Metric
Deployable Output (DO)
A profile of the deployable output, contribution to the supply demand balance or demand saving (based on the capacity of the option) or water saved over 80 years. The benefit of a demand side option should be based on a dry year
DO 1:200 Average [Ml/d] | 3.6
DO 1:200 Peak [Ml/d] | 3.6
DO 1:500 Average [Ml/d] | 3.6
DO 1:500 Peak [Ml/d] | 3.6
Lead in time
An estimate of the lead-in time needed to investigate and implement the option
Investigation time [Years] | 6
Earliest start date
Risk and uncertainty with option
An assessment of the risks and uncertainty associated with the option
General - Ml/d risk [Best Value Metric] | 4
General - text
Impact of Climate Change on yield
Environment (inc INNS)
Customer behaviour
Drinking Water Safety
A drinking water safety plan assessing the risks to drinking water quality
SWS 'catchment raw water quality risks' [Best Value Metric] | 2.5714
Links and constraints
Does the option depend on an existing scheme or proposed option | Inclusive with SWS_SHZ_HI-REU_RE1_CNO_env_cu_bew1_conju SWS_SHZ_HI-REU_RE1_DEV_env_cu_bew1_conju SWS_SHZ_HI-REU_RE1_PLA_env_cu_bew1_conju.
Constraints specific to the option
Customer support
Customer Preference [Best Value Metric] | 1.15
Flexibility
Scalability and modularity [Best Value Metric] | 3
A description of how the option will be utilised and the impact on operating costs and carbon costs
Expected annual utilisation [Ml/d] | 2.4987
Maximum annual utilisation [Ml/d] | 3.6
Environment
SEA benefit effect | 2
SEA negative effect | -44
WFD Assessment [Y/N] | Y
Risk of non compliance against WFD Objectives? | Potentially non-compliant (low conf.)
HRA assessment [Y/N] | Y
Appropriate Assessment Required [Y/N] | N
Contribution to biodiversity
Financial and Cost Information
Metric
Capex [£m] | 198.9868
Financing Cost [£m] | 266.2332
Opex [£m] | 86.4052
Embodied Carbon [tCo2e] | 32639.0878
Average operational carbon emissions [tCo2e/yr] | 64.4159
Total Carbon Cost [£m] | 12.9508
Average Incremental Cost (AIC) [p/m3] | 379.18
Other
Metric

## Best_Value_Metrics
Best Value Metrics
Metric
Environmental: Environmental Benefit | 2
Environmental: Environmental Disbenefit | -44
Environmental: Natural Capital
Environmental: Biodiversity Net Gain
Social: Customer Preference | 1.15
Resilience: Reliability R1 – Uncertainty of option supply/demand benefit | 4
Resilience: Reliability R3 – Risk of failure of planned service due to other physical hazards | 2
Resilience: Reliability R5 – Catchment/raw water quality risks (incl. climate change) | 2.5714
Resilience: Reliability R6 – Capacity of catchment services
Resilience: Reliability R7 – Risk of failure of planned service due to exceptional shocks | 1
Resilience: Reliability R8 – Improvements to soil health
Resilience: Adaptability A3 – Operational complexity and flexibility | 1
Resilience: Adaptability A7 – Customer engagement with demand restrictions
Resilience: Evolvability E1 – Scalability and modularity of proposed changes | 3
Resilience: Evolvability E2 – Intervention lead times | 2
Resilience: Evolvability E3 – Reliance on external bodies to deliver changes | 1
Resilience: Evolvability E5 – Collaborative landscape management
Best Value Metric Plot

## WAFU
Water Avaliable for Use
Time Series Plot