## Option_Summary
Option Fact File
Description | SWS_KMW_HI-RSR_RE1_CNO_rab1
Supply and Transfer Options
Name | Storage (SHZ): Raising Bewl 0.4m (3Ml/d)
Source of Supply and main operational features | The scheme involves the raising of Bewl Reservoir by 0.4m to increase storage and yield. The major works for raising Bewl to higher TWL levels will include: • Raise the dam crest and build new wave wall; • Raise overflow and valve chamber shafts; and • Many ancillary works around the perimeter of the reservoir.
Area over which option is to be implemented | Kent Medway West
Dependencies
Key Facts
Metric
Deployable Output (DO)
A profile of the deployable output, contribution to the supply demand balance or demand saving (based on the capacity of the option) or water saved over 80 years. The benefit of a demand side option should be based on a dry year
DO 1:200 Average [Ml/d] | 0
DO 1:200 Peak [Ml/d] | 0
DO 1:500 Average [Ml/d] | 3
DO 1:500 Peak [Ml/d] | 0
Lead in time
An estimate of the lead-in time needed to investigate and implement the option
Investigation time [Years] | 3
Earliest start date
Risk and uncertainty with option
An assessment of the risks and uncertainty associated with the option
General - Ml/d risk [Best Value Metric] | 3
General - text
Impact of Climate Change on yield
Environment (inc INNS)
Customer behaviour
Drinking Water Safety
A drinking water safety plan assessing the risks to drinking water quality
SWS 'catchment raw water quality risks' [Best Value Metric] | 3.5714
Links and constraints
Does the option depend on an existing scheme or proposed option | Inclusive with SWS_KMW_HI-RSR_RE1_CNO_rab1 SWS_KMW_HI-RSR_RE1_DEV_rab1 SWS_KMW_HI-RSR_RE1_PLA_rab1.
Constraints specific to the option
Customer support
Customer Preference [Best Value Metric] | 1.26
Flexibility
Scalability and modularity [Best Value Metric] | 2
A description of how the option will be utilised and the impact on operating costs and carbon costs
Expected annual utilisation [Ml/d] | 2.5
Maximum annual utilisation [Ml/d]
Environment
SEA benefit effect | 2
SEA negative effect | -30
WFD Assessment [Y/N] | Y
Risk of non compliance against WFD Objectives? | Potentially non-compliant (low conf.)
HRA assessment [Y/N] | Y
Appropriate Assessment Required [Y/N] | N
Contribution to biodiversity | -98.155
Financial and Cost Information
Metric
Capex [£m] | 96.4671
Financing Cost [£m] | 181.0151
Opex [£m] | 6.1917
Embodied Carbon [tCo2e]
Average operational carbon emissions [tCo2e/yr]
Total Carbon Cost [£m]
Average Incremental Cost (AIC) [p/m3] | 241.05
Other
Metric

## Best_Value_Metrics
Best Value Metrics
Metric
Environmental: Environmental Benefit | 2
Environmental: Environmental Disbenefit | -30
Environmental: Natural Capital | -7744.0693
Environmental: Biodiversity Net Gain | -98.155
Social: Customer Preference | 1.26
Resilience: Reliability R1 – Uncertainty of option supply/demand benefit | 3
Resilience: Reliability R3 – Risk of failure of planned service due to other physical hazards | 4
Resilience: Reliability R5 – Catchment/raw water quality risks (incl. climate change) | 3.5714
Resilience: Reliability R6 – Capacity of catchment services
Resilience: Reliability R7 – Risk of failure of planned service due to exceptional shocks | 3
Resilience: Reliability R8 – Improvements to soil health
Resilience: Adaptability A3 – Operational complexity and flexibility | 4
Resilience: Adaptability A7 – Customer engagement with demand restrictions
Resilience: Evolvability E1 – Scalability and modularity of proposed changes | 2
Resilience: Evolvability E2 – Intervention lead times | 2
Resilience: Evolvability E3 – Reliance on external bodies to deliver changes | 2
Resilience: Evolvability E5 – Collaborative landscape management
Best Value Metric Plot

## WAFU
Water Avaliable for Use
Time Series Plot